CLS Focus Compact T DMX zoom spot GII

| Type | : | 4 watt, DMX controllable 13°-65° zoom spot |
| --- | --- | --- |
| Colour | : | Black |
| Material | : | Anodized aluminium |
| Weight | : | 165 gr |
| IP Rating | : | IP20 |
| IK class | : | X |
| Optics | : | 13°- 65° zoom optics |
| Light source | : | Lumileds High Power LED: 1x Luxeon Z ES |
| Colour Temperature | : | 2700K, 3000K, 4000K |
| CRI | : | ≈95 |
| Drive current | : | 24VDC |
| Driver | : | DMX driver internal, power supply external |
| Control | : | DMX 512, individually addressable and programmable |
| Dimming | : | DMX 512 protocol |
| Remarks | : | Internal slot for correction filters |
| Optional accessories | : | Snoot, data bus rails |
| Connection | : | Track adapter |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in the Netherlands |