CLS Jade B Colour Flow & Tunable White surface mounted spot

| Type | : | 30 Watt (1450 lm) DMX colour changing surface mounted spot |
| --- | --- | --- |
| Colour | : | Configurable: Black, white or grey |
| Material | : | Anodized or coated aluminium & PC/ABS V0 |
| Weight | : | 780 gr |
| IP Rating | : | IP20 |
| IK class | : | x |
| Beam angle | : | Configurable: 23°, 45° or 69° beam angle |
| Light source | : | CLS Dynamic Colour CoB LED module |
| Colour changing | : | RGB-W, 1800K-4000K or 2700K-5700K |
| CRI | : | X |
| Driver | : | Internal power supply, 100 ~ 240 VAC |
| Controlling | : | DMX 512 |
| Dimming | : | DMX 512 or Bluetooth by Casambi |
| Remarks | : | Fitted with a M10 thread stud attachment for installation on a cable tray. Integrated soft diffusion filter Fitted with a 5 core DMX combi cable |
| Optional accessories | : | Rotatable barndoor, snoot, half snoot & honeycomb Louvre |
| Connection | : | 200 cm cable, open end |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 5 years warranty |
| Origin | : | Designed and manufactured in The Netherlands |