CLS Krypton Colour Changing fixture

| Type | : | 93 Watt surface mounted spot LED fixture for general & effect lighting |
| --- | --- | --- |
| Colour | : | Black or white, powder coated |
| Material | : | Aluminum |
| Weight | : | 2500 grams |
| IP Rating | : | IP20 |
| IK class | : | X |
| Lenses | : | Configurable white light: 24°, 35° of 60° beam angle Configurable RGB: 10°, 25° of 35° beam angle |
| Light source | : | Citizen & LumiLeds |
| White LED Colour | : | 2700K, 3000K or 4000K |
| LED Colour Changing | : | RGB |
| CRI | : | CRI≈80 or CRI≈90 (white light modules) |
| Driver | : | Internal 100 - 240 VAC power supply |
| Control | : | DMX512 protocol |
| Dimming | : | Full Analogue dimming or Hybrid dimming |
| Remarks | : | The Krypton is completely silent through the use of passive cooling |
| Optional accessories | : | Honeycomb louvre |
| Connection | : | Power: Neutrik Powercon TRUE DMX: Choice of Neutric Ethercon RJ45, XLR3 or XLR5 connection. Wireless DMX is also possible. |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 5 years warranty |
| Origin | : | Designed and manufactured in The Netherlands |
| Energy label | : | A+ |