CLS Lina Clip DF (Diffused) linear lighting surface mounted fixture

| Type | : | Surface mounted Linear lighting fixture in 6, 12 or 18 Watt (6 Watt per 25 cm PCB) |
| --- | --- | --- |
| Colour | : | White coated or black anodized |
| Material | : | Aluminium, polycarbonate, and PC/ABS V0 |
| Weight | : | Depending on length |
| IP Rating | : | IP40 |
| Length | : | Configurable, 30, 55 & 80 cm |
| Optics | : | 120° beam angle |
| LED | : | High Power LEDs |
| Colour temperature | : | 2700K, 3000K or 4000K |
| CRI | : | CRI>80 or CRI>90 |
| Drive current | : | 500mA |
| Driver | : | External |
| Power factor | : | 1-10V driver >90 |
| Dimming | : | 1-10V, phase-cut, DMX 512 or DALI |
| Remarks | : | 180° rotation of the light beam Mounting brackets can be placed at any position on the product |
| Optional accessories | : | X |
| Connection | : | Wire |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years |
| Origin | : | Designed and manufactured in The Netherlands |