CLS Otis Downlighter series

| Type | : | 37 or 55 Watt mirror fixture |
| --- | --- | --- |
| Colour | : | Blank or black anodized aluminum |
| Material | : | Massive CNC machined aluminum |
| Weight | : | 1400 gr |
| IP Rating | : | IP20 |
| IK class | : | X |
| Optics | : | Beam angle configurable: 15°, 30° or 50° beam angle |
| Light source | : | Citizen |
| Colour Temperature | : | 2500K, 2700K, 3000K or 4000K |
| CRI | : | CRI>80, CRI>90 or CRI>95 |
| Drive current | : | 1050mA |
| Power factor driver | : | >0,99 |
| Dimming | : | 1-10V, Phase-cut, DALI, DMX or Bluetooth by Casambi. |
| Remarks | : | Each mirror optic holds 2 adjustable mirrors. One can easily adjust the beam angle for a perfect illumination of all relevant objects in a room. Also usable without mirrors. |
| Optional accessories | : | X |
| Connection | : | CLS Smart Connect system |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in The Netherlands |