CLS REVO Micro IP67 surface mounted outdoor fixture

| Type | : | 5 watt IP67 outdoor fixture |
| --- | --- | --- |
| Colour | : | Blank or black anodized aluminum |
| Material | : | Massive CNC machined aluminium |
| Weight | : | 340 gr |
| IP Rating | : | IP67 |
| IK class | : | X |
| Optics | : | Configurable: 20°, 30°, 66° or 20 x 42° lenses |
| Light source | : | Lumileds High Power LED: 4 x Luxeon T |
| Colour Temperature | : | 2700K, 3000K, 4000K & amber |
| CRI | : | >80 |
| Drive current | : | 700mA |
| Driver | : | 180 - 264 VAC IP67 power supply built in, or 12-24 VAC / VDC |
| Power factor driver | : | X |
| Dimming | : | Not possible |
| Remarks | : | Ventilation gland with Gore-Tex membrane fitted to avoid moisture and condensation |
| Optional accessories | : | X |
| Connection | : | 200 cm cable open end |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in the Netherlands |