CLS Ruby Pendant

| Type | : | Configurable: 15, 20, 28, 42 or 55 Watt Pendant spot |
| --- | --- | --- |
| Colour | : | Black or white, powder coated |
| Material | : | Aluminum |
| Weight | : | Various weights |
| IP Rating | : | IP20 |
| IK class | : | X |
| Reflector | : | Configurable: 16°, 49°, 63° beam angle |
| Light source | : | Citizen |
| LED Colour | : | 2500K, 2700K, 3000K or 4000K |
| CRI | : | CRI>80 or CRI>92 (White light versions) |
| Driver | : | Internal, 200-240 VAC |
| Power factor driver | : | 1-10V driver >0,90 Phase cut driver >0,90, built-in active PFC |
| Dimming | : | 1-10V, phase cut, DMX 512, DALI or Bluetooth by Casambi |
| Remarks | : | X |
| Optional accessories | : | X |
| Connection | : | Configurable: 200, 400 or 800 cm cable with open end |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in the Netherlands |
| Energy label | : | A+ & A++ |