CLS Sapphire Gallery Track spot

| Type | : | Configurable 30 Watt track spot |
| --- | --- | --- |
| Colour | : | Configurable by customer, black, white, grey or a combination of colours |
| Material | : | Anodized aluminium & PC/ABS V0 |
| Weight | : | 1500 gr |
| IP Rating | : | IP20 |
| IK class | : | x |
| Optics | : | Configurable: 18°, 30° or 54° beam angle |
| Light source | : | Citizen or Xicato |
| Colour Temperature | : | 2700K, 3000K or 4000K |
| CRI | : | CRI>80, CRI>90, CRI>96 or CRI>98 |
| Drive current | : | X |
| Driver | : | Internal power supply |
| Power factor | : | >0,90 |
| Dimming | : | Via potentiometer on driver housing |
| Remarks | : | Internal slot for correction filters LED module interchangeable Reflector interchangeable |
| Optional accessories | : | Snoot, barndoor & rail products |
| Connection | : | Track adapter |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in the Netherlands |