CLS Ultima IP40 down lighter

| Type | : | 20 Watt IP40 square down lighter, recessed or semi recessed built in |
| --- | --- | --- |
| Colour | : | Housing can be supplied in black, white, grey, red ,blue, green or any RAL color on request |
| Material | : | Aluminum & PC/ABS V0 |
| Weight | : | 450 gr |
| IP Rating | : | IP40 |
| IK class | : | X |
| Optics | : | Configurable: 8°, 12°, 30°, 60° or 12 x 46° beam angle |
| Light source | : | Lumileds High Power LED: 16 x Luxeon T |
| Colour Temperature | : | Extra warm white 2700K, warm white 3000K or fresh white 5000K |
| CRI | : | >80 |
| Drive current | : | 700mA |
| Driver | : | External |
| Power factor driver | : | 1-10v driver >0,90 Phase cut driver >0,90, built-in active PFC |
| Dimming | : | 1-10V, phase cut, DMX 512 or DALI |
| Remarks | : | Very low glare: UGR value < 13, side glow effect possible |
| Optional accessories | : | X |
| Connection | : | Smart connect cabling system |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in The Netherlands |